This master should be used by designers working on Port of Portland construction projects and by designers working for PDX tenants (“Tenants”).  Usage notes highlight a few specific editing choices, however the entire section should be evaluated and edited to fit specific project needs.

# SECTION 017700 - CLOSEOUT PROCEDURES

## GENERAL

REDLINE DRAWINGS

Delete if project has no drawings.

Upon completion of the work, and as a requirement of final acceptance, submit to the Port a drawing set showing all as-constructed changes and information.

See Section 013300, Submittal Procedures, for requirements.

Coordinate the use of the following article with Section 013300.

OPERATION AND MAINTENANCE MANUALS

See Section 013300, Submittal Procedures, for requirements.

Tenants:  Replace “Port” with name of tenant.

Coordinate the use of the following article with Section 013300.

MAINTENANCE INSTRUCTION

Instruct Port maintenance personnel in the operation, adjustment, and preventive maintenance procedures for the system/equipment.

Schedule instruction through the Port.

Tenants:  Replace “Port” with name of tenant.

Coordinate the use of the following article with Section 013300.

TRAINING

Train Port personnel in the operation of the system/equipment.

Schedule training through the Port.

CONSTRUCTION STAKE AND MARKINGS REMOVAL

Remove stakes and painted markings used in construction layout.

CLEANUP

Remove debris from the staging and work area(s).

Thoroughly sweep paved areas prior to final acceptance.

Areas to be opened for aircraft operations shall be thoroughly swept clean and approved by the Port prior to opening.

CERTIFICATES OF FINAL APPROVAL

Submit originals or clearly readable copies of certificates of approval from the inspection authority prior to application for final payment.

Applies to new construction or change of tenants only.  Not to be used for remodel.

CERTIFICATES OF OCCUPANCY

Obtain Certificate of Occupancy from the City of Portland Bureau of Development Review and submit to the Port.  Certificate of Occupancy is required as a condition of substantial completion.

Use for civil-type work within City of Portland public right-of-way.

CERTIFICATES OF COMPLETION

Obtain Certificate of Completion from the City of Portland City Engineer and submit to the Port.  Certificate of Completion is required as a condition of final acceptance.

This article does not apply to TWIC security badges but does apply to PDX, HQ, and marine terminals where a Port badge is required. Coordinate article with Section 011100. For HQ and marine projects, end sentence after “…badges to the Port” and delete remainder of the paragraph.

RETURN OF SECURITY IDENTIFICATION BADGES

Prior to final acceptance of the work, return all Port security identification badges to the Port badging office and obtain a receipt for their return.  Submit a copy of the receipt to the Port’s Construction Contract Manager.

END OF SECTION 017700