U.S. DEPARTMENT OF TRANSPORTATION
FEDERAL AVIATION ADMINISTRATION

NORTHWEST MOUNTAIN REGION

AIRPORT IMPROVEMENT PROGRAM

MODIFICATION OF AIRPORT DESIGN STANDARDS

AGIS INPUT FORM

| # BACKGROUND |  |  |  |
| --- | --- | --- | --- |
| AIRPORT: | LOCATION (CITY/STATE): |  | LOC ID: |
| EFFECTED RUNWAY/TAXIWAY: | 5. APPROACH (EACH RUNWAY): PIR NPI VISUAL | 6. AIRPORT REF. CODE (ARC): |  |
| 7. DESIGN AIRCRAFT (EACH RUNWAY/TAXIWAY): |  |  |  |
| AIP GRANT NUMBER: PFC NUMBER: |  |  |  |
| # MODIFICATION OF STANDARDS |  |  |  |
| TITLE OF STANDARD BEING MODIFIED (CITE REFERENCE DOCUMENT): AC NUMBER: 150/5370-10H CHAPTER: P-152 PARAGRAPH: PAGE NUMBER: |  |  |  |
| 1. STANDARD/REQUIREMENT: Item P-152, Description, P-152, Construction Methods, P-152, Method of Measurement and Payment, and P-152, Basis of Payment. |  |  |  |
| 2. PROPOSED: To the end of Description: 152-1.5 Quarry Spalls. Quarry spalls shall be hard, sound and durable broken stone, free from segregation, seams, cracks and other defects tending to destroy its resistance to weather and shall conform to the following requirements for quality: Degradation Factor; 15% minimum; WSDOT Test Method T 113. Los Angeles Wear, 500 rev.; 50% maximum; AASHTO T 96. Specific Gravity; 2.55 minimum; AASHTO T 85. Quarry spalls shall meet the following requirements for gradation:” Sieve Size; Percent Passing. 8"; 100. 3"; 40, max.. 3/4"; 10, max.. To the end of Construction Methods: 152-2.17 Unsuitable Excavation. Excavation to remove unsuitable material shall be performed only at the direction of the Port and shall be made to the depth and extent determined by the Port. No wheeled or tracked equipment shall be allowed to operate on the surface of the excavation. Use only a backhoe, grade-all, drag line, or equal. Remove and replace subgrade soil disturbed as a result of Contractor’s excavation or backfilling methods as directed, at no added cost to the Port. Unsuitable material shall be disposed of off Port property. No compaction of excavation bottom is required. Install geotextile along bottom and sides of excavation, and backfill with quarry spalls, then place geotextile and remainder of the pavement section as specified in the drawings.” To the end of Method of Measurement: 152-3.3 Unsuitable Excavation. The quantity of unsuitable excavation to be paid for will be the number of cubic yards of material determined by the Port to be unsuitable and excavated and disposed of off Port property. The quantity will be measured in its original position and based on an average depth of cut at each location.” Measurement of Unsuitable Excavation shall not include the quantity of materials excavated without authorization beyond normal slope lines, or the quantity of material used for purposes other than those directed. Unsuitable Excavation shall not include trench excavation which is covered in the applicable utility specification section.” To the end of Basis of Payment: 152-4.2 Unsuitable Excavation. Payment will be made at the contract unit price per cubic yard. The price includes haul and disposal of unsuitable material off of Port property, placement of geotextile along excavated areas, and the rock and quarry spalls as necessary to replace the areas of unsuitable excavation |
| 3. EXPLAIN WHY STANDARD CANNOT BE MET (FAA ORDER 5300.1E): Many Port of Portland airports have been in service since the mid 1900’s, and many of the airfields at these airports were constructed of dredge sand and other miscellaneous import fill. Because of the various sources and contents of import fill, pockets of unsuitable soil exist throughout these airfields, many times underneath areas to be paved. Without removal and replacement of unsuitable soil underneath areas to be paved, the risk of pavement failure increase significantly. Currently no specifications exist in AC 150/5370-10H to address how to replace areas of removed unsuitable soil underneath areas to be paved, and what material to replace these removed unsuitable soils with. |  |  |  |
| 4. DISCUSS VIABLE ALTERNATIVES (FAA ORDER 5300.1E): Currently there are two other methods commonly used for stabilization or replacement of soft soils. One method is by mass stabilization, one is by removal and replacement with controlled density fill. The method of mass stabilization is effective, but requires a mixing tool and stabilizers be brought to the site. The mixing tool is then inserted into the soil at numerous locations, and the stabilizer injected. This is a very labor intensive procedure, and costs more than using quarry spalls, usually in the $6-12 per vertical square foot range. The method of using controlled density fill does not provide significant advantages over quarry spalls because both are removal and replacement. In addition, controlled density fill usually costs more than quarry spalls, and creates a barrier to installation of utilities in the area of unsuitable soil, whereas quarry spalls can be more readily removed during subsequent utility trenching. |  |  |  |
| 5. EXPLAIN WHY MODIIFICAITON IS NECESSARY TO CONFORM TO LOCAL LAWS AND REGULATIONS (IF NECESSARY): |  |  |  |
| 6. STATE WHY MODIFICATION WOULD PROVIDE ACCEPTABLE LEVEL OF SAFETY, ECONOMY, DURABILITY, AND WORKMANSHIP (FAA ORDER 5300.1E): The addition of quarry spalls in areas of unsuitable soil located under areas to be paved can bridge the underlying “soft” soil, to give the pavement section the subgrade stability it requires to function correctly, and for the expected design pavement life. Without reinforcing these soft soils, pavement life is reduced, and the potential for large failures that may affect the ability for an aircraft to use the facility increase. The Quarry Spalls properties are from Washington State Department of Transportation (WSDOT) standards. ODOT has a standard but it is a light riprap with much larger rock sizes and is not as conducive to providing a stable, fully compacted base to build upon. Therefore, we propose the use of WSDOT standard Quarry Spalls which are readily available at all local rock quarries. The WSDOT standard materials also bridge soft spots well compact more readily to allow for construction. |  |  |  |
| 7. EXPLAIN ANY SPECIAL OPERATIONAL PROCEDURES AND/OR RESTRICTIONS NECESSARY TO ACCOMMODATE MODIFICATION OF STANDARD: |  |  |  |
| INCLUDE COPY OF DOCUMENT BEING MODIFIED IN TRACK CHANGE MODE ## ATTACH ADDITIONAL SHEETS AS NECESSARY – INCLUDE SKETCH/PLAN |  |  |  |