U.S. DEPARTMENT OF TRANSPORTATION
FEDERAL AVIATION ADMINISTRATION

NORTHWEST MOUNTAIN REGION

AIRPORT IMPROVEMENT PROGRAM

MODIFICATION OF AIRPORT DESIGN STANDARDS

AGIS INPUT FORM

| # BACKGROUND |  |  |  |
| --- | --- | --- | --- |
| AIRPORT: | LOCATION (CITY/STATE): |  | LOC ID: |
| EFFECTED RUNWAY/TAXIWAY: | 5. APPROACH (EACH RUNWAY): PIR NPI VISUAL | 6. AIRPORT REF. CODE (ARC): |  |
| 7. DESIGN AIRCRAFT (EACH RUNWAY/TAXIWAY): |  |  |  |
| AIP GRANT NUMBER: PFC NUMBER: |  |  |  |
| # MODIFICATION OF STANDARDS |  |  |  |
| TITLE OF STANDARD BEING MODIFIED (CITE REFERENCE DOCUMENT): AC NUMBER: 150/5370-10H CHAPTER: T-901 PARAGRAPH: 2.1 PAGE NUMBER: |  |  |  |
| 1. STANDARD/REQUIREMENT: 901-2.1 Seed. The species and application rates of grass, legume, and cover-crop seed furnished shall be those stipulated herein. Seed shall conform to the requirements of Federal Specification JJJ-S-181, Federal Specification, Seeds, Agricultural. Seed shall be furnished separately or in mixtures in standard containers labeled in conformance with the Agricultural Marketing Service (AMS) Seed Act and applicable state seed laws with the seed name, lot number, net weight, percentages of purity and of germination and hard seed, and percentage of maximum weed seed content clearly marked for each kind of seed. The Contractor shall furnish the Engineer duplicate signed copies of a statement by the vendor certifying that each lot of seed has been tested by a recognized laboratory for seed testing within six (6) months of date of delivery. This statement shall include: name and address of laboratory, date of test, lot number for each kind of seed, and the results of tests as to name, percentages of purity and of germination, and percentage of weed content for each kind of seed furnished, and, in case of a mixture, the proportions of each kind of seed. Wet, moldy, or otherwise damaged seed will be rejected. Seeds shall be applied as follows: Seed; Minimum Seed Purity (Percent); Minimum Germination (Percent); Rate of Application lb/acre (or lb/1,000 S.F.). *; *; *; *. *; *; *; *. Seeding shall be performed during the period between [ ] and [ ] inclusive, unless otherwise approved by the Engineer. |
| 2. PROPOSED: Replace this section as follows: 901-2.1 Seed. The species and application rates of grass, legume, and cover-crop seed furnished shall be those stipulated herein. The seed mix shall conform to the requirements of ORS 633. The seed mix shall be untreated tested seed of good quality and free of noxious weeds. Seed shall be dry, not moldy, and show no sign of having been wet or otherwise damaged. Seed shall be furnished separately or in mixtures in standard containers labeled in conformance with the Agricultural Marketing Service (AMS) Seed Act and ORS 633 with the seed name, lot number, net weight, percentages of purity and of germination and hard seed, and percentage of maximum weed seed content clearly marked for each kind of seed. The Contractor shall furnish the Port duplicate signed copies of a statement by the vendor certifying that each lot of seed has been tested by a recognized laboratory for seed testing within six (6) months of date of delivery. This statement shall include: name and address of laboratory, date of test, lot number for each kind of seed, and the results of tests as to name, percentages of purity and of germination, and percentage of weed content for each kind of seed furnished, and, in case of a mixture, the proportions of each kind of seed. Wet, moldy, or otherwise damaged seed will be rejected. Seed mix shall be a three-way blend of endophyte enhanced dwarf turf type tall fescues meeting the following criteria: Seed; Percent PLS; Minimum Seed Purity (Percent); Minimum Germination (Percent); Endophyte Enhanced. Seed Type 1; 33; 98; 90; 80 min. Seed Type 2; 33; 98; 90; 80 min. Seed Type 3; 33; 98; 90; 80 min. Inert Matter; 1; --; --; --. PLS (pure live seed) is the amount of living, viable seed in a larger total amount of seed. The amount of seed to be applied is obtained by using the purity and germination percentages from the label on the actual bag of seed to be used on the project. To calculate the amount of seed to be applied: - Obtain the PLS factor by multiplying the seed label germination percentage times the seed label purity percentage; - Divide the specified PLS rate by the PLS factor; - Round off the result as approved. For example, assume a PLS seeding rate of 350 lbs/acre is specified and the seed label shows a purity of 98 percent and germination of 90 percent. Multiply 0.98 by 0.90 to obtain a PLS factor of 0.88. The specified PLS rate of 350 lbs/acre, divided by the factor of 0.88, equals 397.73. Thus 400 lbs/acre of total seed needs to be applied in order to meet a specified PLS seeding rate of 350 lbs/acre (approximately 1,600 seeds/sq ft). Seeding shall be performed during the period between September 1 and October 15 inclusive, unless otherwise approved or directed by the Port. Seeding on stockpile areas shall be completed prior to September 1. |
| 3. EXPLAIN WHY STANDARD CANNOT BE MET (FAA ORDER 5300.1E): Currently AC 150/5370-10H indicates seed must meet Federal Specification JJJ-S-181, while locally available seed must instead meet Oregon Revised Statutes (ORS) and the airport’s Wildlife Hazard Management Plan. The Port of Portland has chosen to use endophytic enhanced fescue based on the best available science to reduce the risk that wildlife poses to safe aircraft operations. |  |  |  |
| 4. DISCUSS VIABLE ALTERNATIVES (FAA ORDER 5300.1E): Ship seed that meets Federal regulations and was tested for Federal standards to the job site, in lieu of using locally available seed. |  |  |  |
| 5. EXPLAIN WHY MODIIFICAITON IS NECESSARY TO CONFORM TO LOCAL LAWS AND REGULATIONS (IF NECESSARY): |  |  |  |
| 6. STATE WHY MODIFICATION WOULD PROVIDE ACCEPTABLE LEVEL OF SAFETY, ECONOMY, DURABILITY, AND WORKMANSHIP (FAA ORDER 5300.1E): Currently AC 150/5370-10H indicates seed meet Federal Specification JJJ-S-181, which is understandable given that these specifications are meant to cover all US airports. For seed however, locally available seed is required to meet ORS requirements, and local labs are set up to test based on ORS requirements, not Federal requirements. The ORS requirements are as stringent (if not more so) than the Federal requirements, so using ORS specifications in lieu of Federal specifications will produce a product that is acceptable to what was intended per AC 150/5370-10H, without the undue burden of finding seed and a testing lab that will provide the federal specifications for additional cost to the project, with no additional benefit. Additionally, specifications in AC 150/5370-10H acknowledge that local seeding rates, species, and dates should be used, indicating it is understood that seed is an item that needs to be based on local conditions as long as minimum federal requirements are met. |  |  |  |
| 7. EXPLAIN ANY SPECIAL OPERATIONAL PROCEDURES AND/OR RESTRICTIONS NECESSARY TO ACCOMMODATE MODIFICATION OF STANDARD: |  |  |  |
| INCLUDE COPY OF DOCUMENT BEING MODIFIED IN TRACK CHANGE MODE ## ATTACH ADDITIONAL SHEETS AS NECESSARY – INCLUDE SKETCH/PLAN |  |  |  |